## Slide 1: Pros and Cons of Nuclear Power Systems

## Slide 2: Pros of Fission Power Reactors
Pro | Comments
Dependable, dispatchable generation | Major power source, reliably available 24/7
CO2 free once plant is built | No CO2 emissions during operation; nothing has to be burned.
Abundant sources of fuel | Fuel supply more than adequate for years to come, especially if we recycle used fuel
Low fuel cost of generation | Actual cost of fuel low and small percentage of overall operating cost
All its emissions are contained | Used nuclear fuel and radioactive wastes from maintenance are carefully managed and not freely released to environment
Small modular reactors can be deployed in a few years | Large, complex reactors take years to build; smaller units optimized for factory fabrication will be available much more quickly.

## Slide 3: Cons of Fission Power Reactors
Cons | Comments
High capital cost | Capital cost depends on size, complexity, time to build and interest rate. Small modular plants reduce capital cost
Used fuel disposal | Presently, used fuel is stored on plant site in cooling pools and in large shielded casks. Reprocessing and burnup in fast reactors will manage long-lived wastes. Fission products will decay in a few hundred years.
High decommissioning cost | Other than used fuel, what is left is activated structures will relatively short half-lives. Certainly harder to decommission a reactor than to disassemble a factory
Public opposition | Public education is necessary. Climate change requires revisiting opposition
Relatively long time to build. Licensing may further delay. | Small modular reactors, with factory fabrication and plant simplification will reduce build time for nth of a kind
Risk of accidents with economic and health consequences | Risk is small if properly designed and operated. NRC requires new reactors to be passively safe meaning no power or operator action required during casualties and off-normal operation to prevent radiation release to public.

## Slide 4: Pros of Fusion Power Systems
Pros | Comment
No fission products. | Limited number of radioactive materials that must be dealt with
Limited radioactivity | Fusion reactors become radioactive but there are relatively small amounts of material to dispose of and the half-lives are relatively short. Designers can choose materials that get activated.
Fuel is extremely plentiful | Hydrogen and deuterium
There is no chance of a runaway power excursion that I can see. | Failures in systems will lead to system shutdown.
Heat produced is at high temperature | Designs can use a high temperature heat transfer system. Heat could be used to generate power efficiently and for industrial purposes.

## Slide 5: Cons With Fusion Power Systems
Cons | Comment
Achieving fusion conditions takes a lot of power | Requires extremely high temperature in operating volume. There are all sorts of instabilities in the plasma that carry away energy. It is hard.
Requires breeding tritium for fuel | Most viable fusion systems fuse deuterium (which is a rare isotope of hydrogen that is naturally occurring) and tritium (a heavy isotope of hydrogen that must be produced). Tritium must be bred within the fusion system. Can breed tritium from lithium in blanket
Neutron damage to fusion reactor structures requires periodic replacement. | Systems must be designed to replace such parts
Some reactor structures become radioactive | Radioactivity is relatively short-lived
Major development still required | Fusion test devices have demonstrated net energy gain so far but for short periods. Lots of engineering required for a complete power system.
Tritium must be managed | Tritium is extra-heavy hydrogen. Hydrogen hard to confine. However, tritium decay produces low energy beta particle. Not hazardous if not ingested.
Most promising design (SPARC) requires rare earth for superconducting magnet | Magnetic coils in SPARC use xyz-copper alloy. XYZ production would have to be increased if SPARC usion systems widely deployed.

## Slide 6: Final Thoughts
Climate change is real and demands all of us drastically change how we generate and use energy. The challenge is worldwide.
Fossil fuels provide enormous energy and are the basis for our present high standard of living in developed countries.
Roughly half of the electricity being generated on earth comes from burning coal. There are serious environmental consequences of that apart from global warming.
The magnitude of the problem is hard to grasp. Minor improvements may be helpful but we need major energy sources as well as energy efficiency improvements.
The shift to green energy should be part of a larger movement to live sustainably on earth.
Nuclear energy must be part of the solution.